|  |
| --- |
| Declaration of Performance |
| **No. 041-DOP-2024-03-25** |

|  |  |  |
| --- | --- | --- |
| 1. | Unique identification code of the product type: | **Double-wall connecting flue pipe****ICS 25, PERMETER 25** |
| 2. | Intended use: | **Convey the products of combustion from heating appliances to the chimney** |
| 3. | Product designations: | Model 1 | DN (80 – 300) | **T450 N1 D V2 L50050 G100 M** |
|  |  |  | DN (350 – 450) | **T450 N1 D V2 L50050 G150 M** |
|  |  |  | DN (500 – 600) | **T450 N1 D V2 L50050 G200 M** |
|  |  |  | DN (650 – 900) | **T450 N1 D V2 L50050 G400 M** |
|  |  |  |  |  |
|  |  | Model 2 | DN (80 – 300) | **T450 N1 D V2 L99050 G100 M** |
|  |  |  | DN (350 – 450) | **T450 N1 D V2 L99050 G150 M** |
|  |  |  | DN (500 – 600) | **T450 N1 D V2 L99050 G200 M** |
|  |  |  | DN (650 – 900) | **T450 N1 D V2 L99050 G400 M** |
|  |  |  |  |  |
|  |  | Model 3 | DN (80 – 300) | **T450 N1 D V2 L70050 G100 M** |
|  |  |  | DN (350 – 450) | **T450 N1 D V2 L70050 G150 M** |
|  |  |  | DN (500 – 600) | **T450 N1 D V2 L70050 G200 M** |
|  |  |  | DN (650 – 900) | **T450 N1 D V2 L70050 G400 M** |
|  |  |  |  |  |
|  |  | L99 material = 1.4521 (444) |
| 4. | Manufacturer: | **Schiedel s.r.o.,** **Horoušanská 286,** **CZ-250 81 Nehvizdy** |
| 5. | Authorized representative: | **N/A** |
| 6. | System(s) of AVCP: | **System 2+** |
| 7. | Harmonized standard: | **EN 1856-2:2009** |
|  | Notified body: | **0036** |

8. Declared performance:

|  |  |  |
| --- | --- | --- |
| **Essential characteristics**  | **Performance** | **Harmonized technical specification** |
| Compressive strength ofchimney sections & fittings | Model(s) 1 to 3:DN 80 = max. **2,12 kN**DN 300 = max. **2,25 kN**DN 700 = max. **1,25 kN** | EN 1856-2: 2009 |
| Resistance to fire  | Model(s) 1 to 3: DN (80 – 300): **G100 M**DN (350 – 450): **G150 M**DN (500 – 600): **G200 M**DN (650 – 900): **G400 M** | EN 1856-2: 2009 |
| Gas tightness/leakage | Model(s) 1 to 3: DN (80 – 900): **N1** | EN 1856-2: 2009 |
| Flow resistance of chimney sections | Model(s) 1 to 3:DN (80 – 900): **1,0 mm** | EN 1856-2: 2009 |
| Flow resistance of chimney fittings | According EN 13384-1 | EN 13384-1: 2014 |
| Thermal resistance | Model(s) 1 to 3:DN (80 – 900): **0.37 m2 K/W** tested at 200°C |  |
| Thermal shock resistance  |  | EN 1856-2: 2009 |
| Sootfire Resistance: | Model(s) 1 to 3: DN (80 – 900): **Yes** |
| Thermal performance under normal operating conditions | Model(s) 1 to 3: DN (80 – 900): **T450** | EN 1856-2: 2009 |
| Flexural tensile Strength  | Model(s) 1 to 3:DN (80 – 900): **NPD** | EN 1856-2: 2009 |
| Non-vertical installation  | Model(s) 1 to 3:DN (80 – 500): between supports **≤ 3 m at 90°**DN (550 - 900): between supports **≤ 4 m at 90°** | EN 1856-2: 2009 |
| Durability |  | EN 1856-2: 2009 |
| Water and vapour diffusion resistance  | Model(s) 1 to 3:DN (80 – 900): **No** |
| Condensate penetration resistance | Model(s) 1 to 3:DN (80 – 900): **No** |
| Durability against corrosion | Model(s) 1 to 3:DN (80 – 900): **V2** |
| Freeze-thaw resistance | Model(s) 1 to 3:DN (80 – 900): **Yes** |

The performance of the product identified above is in conformity with the set of declared performance/s. This declaration of performance is issued in accordance with Regulation (EU) No 305/2011, under the sole responsibility of the manufacturer identified above.

Signed for and on behalf of the manufacturer by:

Teplice, 25.03.2024 Ivana Černa,

 Plant manager